# NOTICE INVITING TENDER - LED STREET LIGHTING

Tender ID: 2026_PWD_123456_1

# TECHNICAL SPECIFICATIONS

Luminaires shall conform to IS 10322 (Part 5/Sec 3):2012

General requirements as per IS 10322 (Part 1)

LED driver shall conform to IS 15885

Product shall bear BIS ISI mark as per IS 10322

IP65 protection as per IEC 60598-2-3

Color rendering index CRI greater than 70 as per IS 2:1960

Power factor shall be greater than 0.9